## Caso_Base
Análisis | Variable | Run_Caso_Base | Valor_Caso_Base | EUI_kWh/m2_Caso_Base | Gas_MWh | Elec_MWh | Gas_kWh/m2 | Elec_kWh/m2 | EUI_kWh/m2 | CE_kgCO2/m2 | UK_BER_kgCO2/m2 | Ta_max_degC | Boiler_max_kW | Chiller_max_kW | DHW_heating_kWh/m2 | Space_heating_(gas)_kWh/m2 | Space_heating_(elec)_kWh/m2 | Space_cooling_kWh/m2
dhwlphperperson | dhw_lph_per_person | 0 | 0.4 | 225.58 | 0 | 6167.34 | 0 | 231.2 | 225.58 | 117.08 | 0 | 66.71 | 52.25 | 0.13 | 26.01 | 0 | 8.28 | 43.67
peoplem2perperson | people_m2_per_person | 1 | 8.6 | 225.58 | 0 | 6167.34 | 0 | 231.2 | 225.58 | 117.08 | 0 | 66.71 | 52.25 | 0.13 | 26.01 | 0 | 8.28 | 43.67

## peoplem2perperson
Run | Variable | Valor | Dif_VS_Caso_Base | %_Cambio | EUI_kWh/m2_Caso_Base | EUI_kWh/m2_Run_0 | EUI_kWh/m2_Cambio | EUI_kWh/m2_%_Cambio | Elec_kWh/m2_Caso_Base | Elec_kWh/m2_Run_0 | Elec_kWh/m2_Cambio | Elec_kWh/m2_%_Cambio | Gas_kWh/m2_Caso_Base | Gas_kWh/m2_Run_0 | Gas_kWh/m2_Cambio | Gas_kWh/m2_%_Cambio | CE_kgCO2/m2_Caso_Base | CE_kgCO2/m2_Run_0 | CE_kgCO2/m2_Cambio | CE_kgCO2/m2_%_Cambio | DHW_heating_kWh/m2_Caso_Base | DHW_heating_kWh/m2_Run_0 | DHW_heating_kWh/m2_Cambio | DHW_heating_kWh/m2_%_Cambio | EUI_kWh/m2_Run_1 | Elec_kWh/m2_Run_1 | Gas_kWh/m2_Run_1 | CE_kgCO2/m2_Run_1 | DHW_heating_kWh/m2_Run_1
0 | people_m2_per_person | 7 | -1.6 | -18.6047 | 225.58 | 233.11 | 7.53 | 3.3381 | 231.2 | 238.73 | 7.53 | 3.2569 | 0 | 0 | 0 | 0 | 117.08 | 120.98 | 3.9 | 3.3311 | 26.01 | 31.96 | 5.95 | 22.8758
1 | people_m2_per_person | 8.6 | 0 | 0 | 225.58 |  | 0 | 0 | 231.2 |  | 0 | 0 | 0 |  | 0 | 0 | 117.08 |  | 0 | 0 | 26.01 |  | 0 | 0 | 225.58 | 231.2 | 0 | 117.08 | 26.01

## Datos_dhwlphperperson
run | dhw_lph_per_person | Gas_MWh | Elec_MWh | Gas_kWh/m2 | Elec_kWh/m2 | Boilers_MWh | Chillers_MWh | Boilers_kWh/m2 | Chillers_kWh/m2 | CE_kgCO2/m2 | UK_BER_kgCO2/m2 | EUI_kWh/m2 | Ta_max_degC | Boiler_max_kW | Chiller_max_kW | Interior_lighting_kWh/m2 | Exterior_lighting_kWh/m2 | Space_heating_(gas)_kWh/m2 | Space_heating_(elec)_kWh/m2 | Space_cooling_kWh/m2 | Pumps_kWh/m2 | Fans_interior_kWh/m2 | DHW_heating_kWh/m2 | Receptacle_equipment_kWh/m2 | Elevators_escalators_kWh/m2 | Data_center_equipment_kWh/m2 | Cooking_(gas)_kWh/m2 | Cooking_(elec)_kWh/m2 | Refrigeration_kWh/m2 | Wind_PV_kWh/m2
0 | 0.4 | 0 | 6167.34 | 0 | 231.2 | 171.66 | 0 | 6.44 | 0 | 117.08 | 0 | 225.58 | 66.71 | 52.25 | 0.13 | 22.04 | 0.6 | 0 | 8.28 | 43.67 | 0 | 11.3 | 26.01 | 99.42 | 11.82 | 0 | 0 | 0 | 0 | -5.62

## Datos_peoplem2perperson
run | people_m2_per_person | Gas_MWh | Elec_MWh | Gas_kWh/m2 | Elec_kWh/m2 | Boilers_MWh | Chillers_MWh | Boilers_kWh/m2 | Chillers_kWh/m2 | CE_kgCO2/m2 | UK_BER_kgCO2/m2 | EUI_kWh/m2 | Ta_max_degC | Boiler_max_kW | Chiller_max_kW | Interior_lighting_kWh/m2 | Exterior_lighting_kWh/m2 | Space_heating_(gas)_kWh/m2 | Space_heating_(elec)_kWh/m2 | Space_cooling_kWh/m2 | Pumps_kWh/m2 | Fans_interior_kWh/m2 | DHW_heating_kWh/m2 | Receptacle_equipment_kWh/m2 | Elevators_escalators_kWh/m2 | Data_center_equipment_kWh/m2 | Cooking_(gas)_kWh/m2 | Cooking_(elec)_kWh/m2 | Refrigeration_kWh/m2 | Wind_PV_kWh/m2
0 | 7 | 0 | 6368.14 | 0 | 238.73 | 210.91 | 0 | 7.91 | 0 | 120.98 | 0 | 233.11 | 66.78 | 64.2 | 0.29 | 22.04 | 0.6 | 0 | 7.98 | 45.39 | 0 | 11.36 | 31.96 | 99.42 | 11.82 | 0 | 0 | 0 | 0 | -5.62
1 | 8.6 | 0 | 6167.34 | 0 | 231.2 | 171.66 | 0 | 6.44 | 0 | 117.08 | 0 | 225.58 | 66.71 | 52.25 | 0.13 | 22.04 | 0.6 | 0 | 8.28 | 43.67 | 0 | 11.3 | 26.01 | 99.42 | 11.82 | 0 | 0 | 0 | 0 | -5.62